## Checklist
Healthy Homes Compliance Checklist — NZ Rental Properties
Healthy Homes Standards: Heating ¦ Insulation ¦ Ventilation ¦ Moisture & Drainage ¦ Draught Stopping
Property ID | Address | City | Landlord / Owner | Tenancy Start Date | Heating Compliant | Insulation Compliant | Ventilation Compliant | Moisture & Drainage Compliant | Draught Stopping Compliant | Compliance Statement Filed | Standards Met (of 5) | Compliance % | Overall Status | Next Inspection Due | Notes
HH-001 | 12 Queen Street | Auckland | Aroha Ngata | 01/03/2026 | Y | Y | Y | Y | Y | Y |  |  |  | 15/03/2027 | All standards met at last inspection.
HH-002 | 45 Cameron Road | Tauranga | Liam Foster | 15/04/2026 | Y | N | Y | Y | Y | N |  |  |  | 20/04/2027 | Insulation under floor requires top-up.
HH-003 | 8 Riccarton Road | Christchurch | Charlotte Wells | 01/02/2026 | Y | Y | N | Y | N | N |  |  |  | 05/02/2027 | Extractor fan needed in bathroom.
HH-004 | 22 Victoria Street | Hamilton | Manaia Ratana | 10/05/2026 | Y | Y | Y | Y | Y | Y |  |  |  | 12/05/2027 | Fully compliant, statement on file.
HH-005 | 3 Moray Place | Dunedin | Sophie Anderson | 01/06/2026 | N | Y | Y | N | N | N |  |  |  | 01/06/2027 | Heating device below required capacity.
HH-006 | 60 Willis Street | Wellington | Hemi Walker | 20/03/2026 | Y | Y | Y | Y | Y | Y |  |  |  | 22/03/2027 | Compliant — reassess after re-clad.
HH-007 | 14 Devon Street | New Plymouth | Aroha Ngata | 05/07/2026 | Y | N | N | Y | Y | N |  |  |  | 07/07/2027 | Ventilation and insulation upgrades scheduled.
HH-008 | 9 Trafalgar Street | Nelson | Liam Foster | 18/04/2026 | Y | Y | Y | Y | Y | Y |  |  |  | 20/04/2027 | Compliant, tenant advised in writing.
HH-009 | 27 Fenton Street | Rotorua | Charlotte Wells | 01/05/2026 | N | N | Y | N | N | N |  |  |  | 01/05/2027 | Multiple remedial works required urgently.
TOTALS / AVERAGES

## Dashboard
Healthy Homes Compliance — Dashboard
Key Metrics | Standard | Compliant Count | Non-Compliant Count
Total Properties | Heating
Fully Compliant Properties | Insulation
Partially Compliant Properties | Ventilation
Non-Compliant Properties | Moisture & Drainage
Average Compliance % | Draught Stopping
Compliance Statements Filed
| Overall Status | Count
Compliant
Partial
Non-Compliant

## Instructions
Instructions — Healthy Homes Compliance Checklist
Purpose | This workbook helps NZ landlords and property managers track compliance with the Healthy Homes Standards (heating, insulation, ventilation, moisture & drainage, and draught stopping) under the Residential Tenancies Act 1986.
Checklist Sheet | Enter one row per rental property. Columns F to K (Heating, Insulation, Ventilation, Moisture & Drainage, Draught Stopping, Compliance Statement Filed) use a Y/N dropdown — select Y if the standard is met.
Standards Met / Compliance % | These columns calculate automatically using COUNTIF formulas based on the Y/N entries — no manual entry required.
Overall Status | Automatically calculated: 'Compliant' if all 5 standards are met, 'Partial' if 3 or 4 are met, and 'Non-Compliant' if fewer than 3 are met.
Next Inspection Due | Enter the date the property is next due for a Healthy Homes inspection or reassessment (recommended annually or at each new tenancy).
Colour Coding | Green shading indicates a compliant item, red indicates non-compliance, and yellow indicates partial compliance — these update automatically via conditional formatting.
Dashboard Sheet | Provides key metrics (totals, averages) and two charts: a bar chart comparing compliance by standard, and a pie chart showing the overall status distribution across all properties.
Compliance Statement | Under the Healthy Homes Standards, landlords must include a signed statement in new/renewed tenancy agreements confirming the property's compliance status.
Data Entry Tips | Pale yellow cells are editable input fields. Avoid editing formula cells (Standards Met, Compliance %, Overall Status) as these update automatically.
Disclaimer | This template is a general guide only and does not constitute legal advice. Refer to Tenancy Services (tenancy.govt.nz) for the current Healthy Homes Standards requirements.